Rules and Regulations

NEC 2002 - 2005 Changes Index

Article 80 Administration and Enforcement         	2005 Moved completely to Annex G

80.1 Scope				    	No other changes made

80.2 Definitions				No Change

80.5 Adoption					No Change

Article 90 Introduction					No Change

90.1 Purpose					90.1 (D) added the word “other”

90.3 Code Arrangement			No Change

90.7 Examination of Equipment for Safety	No Change

### Chapter 1 General

Article 100 Definitions

Scope						No Changes

Article 100 Definitions					(AHJ) added to definitions

Outline Lighting changed-LEDS

Article 110 Requirements for Electrical Installations	No Change

110.1 Scope					See changes

110.2 Approval				No Change

110.3 (B) Installation and Use		No Change

### Chapter 2 Wiring and Protection

Article 210 Branch Circuits				No Change

210.2 Other Articles for Specific-Purpose Branch Circuits	No Change

210.2 Table					No Change

Article 225 Outside Branch Circuits and Feeders	No Change

225.1 Scope					No Change

225.2 Other Articles				No Change

225.2 Table					No Change

Article 240 Overcurrent Protection			No Change

240.3 Other Articles				No Change

240.3 Table					No Change

Article 250 Grounding		and bonding		Title Change

250.1 Scope					No Change

250.2 Definitions				See Changes

250.3 Application of Other Articles		No Change

250.3 Table					No Change

250.4 General Requirements for Grounding and Bonding	No Change

250.8 Connection of Grounding and Bonding Equipment	Words added

250.12 Clean Surfaces			No Change

Article 250 Grounding V Bonding			No Change

250.90 General				No Change

250.96 Bonding Other Enclosures		No Change

250.112 Fastened in Place or Connected by Permanent Wiring methods (Fixed)-Specific

250.112 (G) Electric Signs			No Change

250.119 Identification of Grounding Conductors		Words added

250.120 Equipment Grounding Conductor Installation	No Change

### Chapter 3 Wiring Methods and Materials

Article 300 Wiring Methods						No Change

300.1 Scope							No Change

300.3 Conductors						See changes

300.3 (A) Single Conductors					Exception added

300.3 (C) Conductors of Different Systems			No Change

300.3 (C) (2) Over 600 Volts, Nominal (a) and (b)		No Change

300.10 Electrical Continuity of Metal Raceways and Enclosures		No Change

300.17 Number and Size of Conductors in a Raceway			No Change

Article 310 Conductors for General Wiring				No Change

310.1 Scope							No Change

310.5 Minimum Size of Conductors				Wording added

310.8 Locations 						No Change

310.8 (D) Locations Exposed to Direct Sunlight		Made list added wording

310.10 Marking						No Change

310.10 (A) Required Information				No Change

310.13 Table							No Change

310.16 Table							No Change

Article 314 Outlet, Device, Pull, and Junction boxes; Conduit Bodies; Fittings and Manholes Enclosures										Title Changed

I. Scope and General						No Change

314.1 Scope							Words deleted

II. Installation							No Change

314.15 Damp, Wet, or Hazardous (Classified) Locations			No Change

314.16 Number of Conductors in Outlet, Device, and Junction Boxes, and Conduit Bodies									No Change

314.16 (A) Box Volume Calculations				No Change

314.16 (B) Box Fill Calculations				No Change

314.16 (C) Conduit Bodies					No Change

314.16 (C) (1) General					No Change

314.16 (C) (1) With Splices, Taps, or Devices		No Change

314.29 Boxes and Conduit Bodies to Be Accessible				Words added

Article 334 Nonmetallic Sheathed Cable: Types NM, NMC, and NMS		No Change

334.1 Scope									No Change

Article 340 Underground Feeder and Branch-Circuit Cable Type UF		No Change

340.1 Scope									No Change

Article 342 Intermediate Metal Conduit: Type IMC					No Change

342.1 Scope									No Change

Article 344 Rigid Metal Conduit: Type RMC						No Change

344.1 Scope									No Change

Article 348 Flexible Metal Conduit: Type FMC					No Change

348.1 Scope									No Change

Article 350 Liquidtight Flexible Metal Conduit Type: LFMC				No Change

350.1 Scope									No Change

Article 352 Rigid Nonmetallic Conduit: Type RNC					No Change

352.1 Scope									No Change

Article 356 Liquidtight Flexible Nonmetallic Conduit: Type LFNC			No Change

356.1 Scope									No Change

356.12 Uses Not Permitted							See changes

356.12 (4)        ………………….except as permitted in 600.32.(A)			Words added

356.20 Size (3)   reference to signs 					Missed in last print

Article 358 Electrical Metallic Tubing: Type EMT					No Change

358.1 Scope									No Change

Article 360 Flexible Metallic Tubing: Type FMT					No Change

I. General									No Change

360.1 Scope									No Change

II. Installation									No Change

360.10 Uses Permitted

Article 362 Electrical Nonmetallic Tubing: Type ENT				No Change

I. General									No Change

362.1 Scope									No Change

II. Installation									No Change

362.12 Uses Not Permitted							No Change

362.12 (4) and (6)								No Change

Article 376 Metal Wireways								No Change

I. General									No Change

376.1 Scope									No Change

### Chapter 4 Equipment for General Use

Article 400 Flexible Cords and Cables						No Change

I. General									No Change

400.1 Scope									No Change

Article 404 Switches									No Change

I. Installation									No Change

404.1 Scope									No Change

Article 406 Receptacles, Cord Connectors, and Attachment Plugs (Caps)		No Change

406.1 Scope									No Change

Article 410 Luminaires (Lighting Fixtures), Lampholders, and Lamps		No Change

I. General									No Change

410.1 Scope									Words added

XIV Special Provisions for Electric Discharge Lighting Systems of More than 1000 Volts

410.80 General								No Change

410.80 (A) Listing								No Change

410.80 (B) Dwelling Occupancies						No Change

Chapter 6 Special Equipment

Article 600 Electric Signs and Outline Lighting					No Change

I. General									No Change

600.1 Scope									Rewritten

600.2 Definitions								No Change

Electric-Discharge Lighting						No Change

Neon Tubing								No Change

Section Sign								New added

Sign Body								No Change

Skeleton Tubing							No Change

600.3 Listing							section signs added

- Field Installed Skeleton Tubing					No Change

- Outline Lighting							No Change

600.4 Marking									No Change

- Signs and Outline Lighting Systems				No Change

- With Incandescent Lamp Holders				No Change

600.5 Branch Circuits								No Change

- Required Branch Circuits						No Change

- Rating								No Change

(1) Incandescent and Fluorescent				No Change

(2) Neon								No Change

- Wiring Methods							No Change

(1) Supply								No Change

(2) Enclosures as Pull Boxes					No Change

(3) Metal Poles							No Change

600.6 Disconnects								No Change

- Location								No Change

(1) Within Sight of the Sign					No Change

(2) Within Sight of the Controller					No Change

(B) Control Switch Rating						No Change

600.7 Grounding								No Change

- Flexible Metal Conduit Length					No Change

- Small Metal Parts							No Change

- Nonmetallic Conduit						No Change

- Bonding Conductors						No Change

- Metal Building Parts						No Change

- Signs in Fountains						No Change

600.8 Enclosures					Rewritten to positive language

- Strength								No Change

- Material								No Change

- Minimum Thickness of Enclosure Metal				No Change

- Protection of Metal						No Change

600.9 Location								No Change

- Vehicles								No Change

- Pedestrians							No Change

- Adjacent to Combustibles						No Change

- Wet Locations							No Change

(1)									No Change

(2)									No Change

(3)									No Change

600.10 Portable or Mobile Signs						No Change

- Support								No Change

- Attachment Plug							No Change

- Wet or Damp Location						No Change

(1) Cords								No Change

(2) Ground-Fault Circuit Interrupter				No Change

- Dry Location							No Change

(1)									No Change

(2)									No Change

600.12 Field-Installed Secondary Wiring.				New section added

600.21 Ballasts, Transformers, and Electronic Power Supplies		No Change

- Accessibility							No Change

- Location								No Change

- Wet Location							No Change

- Working Space							No Change

- Attic and Soffit Locations						No Change

- Suspended Ceilings						No Change

600.22 Ballasts								No Change

- Type								No Change

- Thermal Protection						No Change

600.23 Transformers and Electronic Power Supplies			No Change

- Type								No Change

- Secondary-Circuit Ground-Fault Protection			No Change

(1)									No Change

(2)									No Change

- Voltage								No Change

- Rating								No Change

- Secondary Connections						No Change

- Marking								No Change

600.24 Class 2 Power Sources				New section added for LEDs

## II. Field-Installed Skeleton Tubing

600.30 Applicability								No Change

600.31 Neon Secondary-Circuit Conductors, 1000 Volts or Less, Nominal	No Change

- Wiring Method							No Change

- Insulation and Size			Listed for the purpose removed

- Number of Conductors in Raceway				No Change

- Installation								No Change

- Protection of Leads						No Change

600.32 Neon Secondary Circuit Conductors, Over 1000 Volts, Nominal

- Wiring Methods							No Change

  - Installation							No Change

  - Number of Conductors					No Change

  - Size							No Change

  - Spacing from Ground					No Change

  - Metal Building Parts					No Change

- Insulation and Size						No Change

- Installation								No Change

- Bends in Conductors						No Change

- Spacing								No Change

- Insulators and Bushings						No Change

- Conductors and Raceways					No Change

  - Damp and Wet Locations					No Change

  - Dry Locations						No Change

- Between Neon Tubing and Midpoint Return    Listed for the purpose removed

- Dwelling Occupancies						No Change

- Length of Secondary Circuit Conductors				No Change

  - Secondary Conductor to the First Electrode		No Change

  - Other Secondary Circuit Conductors			No Change

600.41 Neon Tubing								No Change

- Design								No Change

- Support								No Change

- Spacing								No Change

600.42 Electrode Connections						No Change

- Accessibility							No Change

- Electrode Connections						No Change

- Support								No Change

- Receptacles				Listed for the purpose removed

- Bushings								No Change

- Wet Locations							No Change

- Electrode Enclosures			Listed for the purpose removed

725.41 Power Sources for Class 2 and Class3 Circuits		Added for LED

Contact Information for Seminars, Consulting and Neon Sign Fires:

United States Sign Council

211 Radcliffe Street, Bristol, PA 19007

215-785-1922

Randall K. Wright

# RKW CONSULTING

698 Walnut Street, Montoursville, PA 17754

570-368-1091

www.rkwconsulting.org

e-mail rkw@uplink.net or randy@ussc.org